## Price List
| Services offered through BSE WQL Cost Center | Prices effective July 1, 2020
| Services require at least two week's notice before samples are brought to lab. |  |  | Internal Rate |  | External Rate
Code | Analysis | Concentration Range | Detection Limit | Assisted | Unassisted |  | Detection Limit | Reporting Limit | Instrument range
WQL17 | pH | 0 - 14 | 0.1 | 2.55 | 0.08 | 4.09
WQL02 | Conductivity | 0 - 2000 | 0 | 2.37 | 0.02 | 3.82
WQL22 | Total Suspended Solids (TSS) | 0 - 100 g | 0.01 g | 2.37 | 1.52 | 3.8
WQL28 | Bacterial Quantification (Total Coliform and E.coli) | 2419 mpn | 1 mpn | 6.79 | 5.26 | 10.91
WQL13 | Ion Analysis of Water (Anions or Cations)* | 0 - 2,000 uM | at least 0.2 mg/L | 2.69 | 0.67 | 4.32
WQL01 | Total Nitrogen (TN) | 0 - 6.5 mg/L as N | 0.10 mg/L as N | 4.12 | 3.65 | 6.6 | 0.05 uM | 0.25 uM | 0-464 uM
WQL21 | Total Phosphorus (TP) | 0 - 17 mg/L as P | 0.02 mg/L as P | 3.96 | 3.73 | 6.36 | 0.04 uM | 0.22 uM | 0-550 uM
WQL14 | Ammonium (NH4+) | 0 - 4.2 mg/L as N | 0.05 mg/L as N | 4.26 | 4.14 | 6.82 | 0.29 uM | 1.47 uM | 0-300 uM
WQL31 | Nitrate+Nitrite (NO3-+NO2-) or Nitrite only (NO2-) | 0 - 6.5 mg/L as N | 0.05 mg/L as N | 4.09 | 3.73 | 6.56 | 0.05 uM | 0.25 uM | 0-464 uM
WQL16 | Orthophosphate (PO43-) | 0 - 17 mg/L as P | 0.02 mg/L as P | 3.5 | 3.38 | 5.62 | 0.02 uM | 0.11 uM | 0-550 uM
WQL34 | Carbon Analysis (NPOC, IC, TC) | 0 - 100 mg/L C | 0.04 mg/L C | 3.99 | 3.76 | 6.4 |  |  | 0-30,000
WQL32 | Carbon Isotope (d13C) | NA | NA | 3.58 | 3.35 | 5.75
WQL33 | Elemental Analysis (%C, %N) | 0 - 100% | NA | 4.82 | 4.49 | 7.74
WQL36 | Metals Prep (for Soils lab) | NA | NA | 3.51 | 0.28 | 5.62
WQL37 | Alkalinity | NA | NA | 7.55 | 3.67 | 12.12 |  |  |  | Limited availability
| *Anions: F, Cl, NO3, SO4 |  |  | WQL performs analysis
| *Cations: Ca, Mg, K, Na |  |  |  | User is trained and performs own analysis. Available for some situations.
Samples from non-VT labs